## Meters Master, not Planon
0
0 | AP000-L99/M303
1 | AP000-L99/M308
2 | MC000-L99/M201
3 | MC000-L99/M202
4 | MC000-L99/M203
5 | MC000-L99/M506
6 | MC001-L99/M100
7 | MC001-L99/M222
8 | MC001-L99/M224
9 | MC001-L99/M306
10 | MC001-L99/M508
11 | MC003-L99/M207
12 | MC003-L99/M304
13 | MC003-L99/M509
14 | MC007-L99/M211
15 | MC007-L99/M511
16 | MC008-L99/M302
17 | MC047-L02/M00??
18 | MC061-L99/M305
19 | MC061-L99/M310
20 | MC102-L99/M309
21 | MC103-L99/M216
22 | MC103-L99/M300
23 | MC103-L99/M504
24 | MC204-L99/M312
25 | MC210-L01/M001
26 | MC210-L01/M002
27 | MC210-L01/M003
28 | MC210-L01/M004
29 | MC210-L01/M005
30 | MC210-L01/M006
31 | MC210-L01/M007
32 | MC210-L01/M008
33 | MC210-L01/M009
34 | MC210-L01/M010
35 | MC210-L01/M011
36 | MC210-L01/M012
37 | MC210-L01/M013
38 | MC210-L01/M014
39 | MC210-L01/M015
40 | MC210-L01/M016
41 | MC210-L01/M017
42 | MC210-L01/M018
43 | MC210-L01/M019
44 | MC210-L01/M020
45 | MC210-L01/M021
46 | MC210-L01/M022
47 | MC210-L01/M023
48 | MC210-L01/M024
49 | MC210-L01/M025
50 | MC210-L01/M026
51 | MC210-L01/M027
52 | MC210-L01/M028
53 | MC210-L01/M029
54 | MC210-L01/M030
55 | MC210-L02/M001
56 | MC210-L02/M002
57 | MC210-L02/M003
58 | MC210-L02/M004
59 | MC210-L02/M005
60 | MC210-L02/M006
61 | MC210-L02/M007
62 | MC210-L02/M008
63 | MC210-L02/M009
64 | MC210-L02/M010
65 | MC210-L02/M011
66 | MC210-L02/M012
67 | MC210-L02/M013
68 | MC210-L02/M014
69 | MC210-L02/M015
70 | MC210-L02/M016
71 | MC210-L02/M017
72 | MC210-L02/M018
73 | MC210-L02/M019
74 | MC210-L02/M020
75 | MC210-L02/M021
76 | MC210-L02/M022
77 | MC210-L02/M023
78 | OC004-L99/M206
79 | OC004-L99/M512
80 | OC005-L99/M204
81 | OC005-L99/M505
82 | OC006-L99/M200
83 | OC006-L99/M503

## Loggers Master, not Planon
0
0 | MC032-L01
1 | MC032-L03
2 | MC044-L02
3 | MC044-L03
4 | MC044-L04
5 | MC044-L05
6 | MC046-L01
7 | MC046-L03
8 | MC046-L04
9 | MC046-L18
10 | MC046-L19
11 | MC061-L01
12 | MC076-B03
13 | MC204-L03
14 | MC204-L04
15 | MC204-L07
16 | MC204-L08
17 | MC204-L09
18 | MC207-L01
19 | MC210-L01
20 | MC210-L02
21 | NAN

## Meters error perc
0
Code | 0.81356
Fiscal meter | 0
Description | 1.2254
Tenant meter | 0
Building Name | 1.8027
Logger Channel | 0
Building Code | 0

## Loggers error perc
0
Code | 0
Description | 0
Make | 0
Building Name | 5.8608
Model | 0
Logger Serial Number | 0
Building Code | 0

## Meters naming conflcits
| Master | Meter | Planon
0 | xcite/io/16di | MC011-B01/I1 | fire alarm active
1 | lthw pri pmp flow | MC011-B01/I2 | xcite/io/8do
2 |  | MC014-B01/L4 | nan
3 | alarm route 1 | MC014-B01/O1 | heating times
4 |  | MC014-B02/L4 | nan
5 |  | MC014-B03/L4 | nan
6 | heating times | MC014-B03/O1 | alarm route 1
7 |  | MC014-B04/L4 | nan
8 |  | MC014-B05/L4 | nan
9 | heating times | MC014-B05/O1 | alarm route 1
10 |  | MC014-B06/L4 | nan
11 | heating times | MC014-B06/O1 | alarm route 1
12 |  | MC014-B07/L4 | nan
13 | alarm route 1 | MC014-B07/O1 | heating times
14 |  | MC014-B08/L4 | nan
15 | alarm route 1 | MC014-B08/O1 | heating times
16 |  | MC014-B09/L4 | nan
17 | heating times | MC014-B09/O1 | alarm route 1
18 |  | MC014-B10/L4 | nan
19 |  | MC014-B11/L4 | nan
20 |  | MC014-B12/L4 | nan
21 |  | MC014-B13/L4 | nan
22 |  | MC014-B14/L4 | nan
23 |  | MC029-B01/L4 | nan
24 | xcite/io/2ui/2ao | MC031-B01/I2 | heating pump status
25 | greathall ahu on-off | MC031-B01/I3 | xcite/io/4do
26 | #name? | MC031-B01/P16 | nan
27 | #name? | MC031-B01/S15 | nan
28 | sump no1 pump 1 trip | MC031-B02/I2 | module 2
29 | water meter pulse | MC032-B01/I3 | iq4/io/8di
30 |  | MC032-B01/L1 | nan
31 |  | MC032-B01/L2 | nan
32 | ahu gas valve shut | MC032-B02/I3 | module 3
33 |  | MC032-B02/L1 | nan
34 |  | MC032-B02/L2 | nan
35 |  | MC032-B02/L3 | nan
36 |  | MC032-B02/L4 | nan
37 |  | MC032-B02/L5 | nan
38 |  | MC032-B02/L6 | nan
39 |  | MC032-B02/L8 | nan
40 | alarm route 1 | MC032-B02/O1 | kitchen ahu
41 | xcite/io/8ao | MC032-B03/I1 | fire alarm active
42 | alarm mute pb | MC032-B07/I1 | module 1
43 | module 3 | MC032-B07/I3 | sump no4 pump 2 trip
44 | 8ui | MC033-B01/I1 | water booster alarm
45 | heat ex pump 1 trip | MC043-B01/I3 | mod 3
46 | mod 4 | MC043-B01/I4 | heat ex pump 2 trip
47 |  | MC043-B01/L1 | nan
48 |  | MC043-B01/L2 | nan
49 |  | MC043-B01/L3 | nan
50 |  | MC043-B01/L4 | nan
51 |  | MC043-B01/L5 | nan
52 |  | MC043-B01/L6 | nan
53 |  | MC043-B01/L7 | nan
54 |  | MC043-B01/O1 | nan
55 | module 1 | MC044-B01/I1 | fire alarm active
56 | module 10 | MC044-B01/I10 | ahu01 extr dmpr open
57 | ahu01 extr fan flow | MC044-B01/I11 | module 11
58 | module 2 | MC044-B01/I2 | ahu01 sply fan fault
59 | ahu01 frost trip | MC044-B01/I5 | module 5
60 | ahu01 bag fltr dirty | MC044-B01/I7 | module 7
61 | module 8 | MC044-B01/I8 | ahu01 th wheel fault
62 |  | MC044-B01/L10 | nan
63 |  | MC044-B01/L12 | nan
64 |  | MC044-B01/L13 | nan
65 |  | MC044-B01/L14 | nan
66 |  | MC044-B01/L15 | nan
67 |  | MC044-B01/L2 | nan
68 |  | MC044-B01/L3 | nan
69 |  | MC044-B01/L4 | nan
70 |  | MC044-B01/L5 | nan
71 |  | MC044-B01/L7 | nan
72 |  | MC044-B01/L8 | nan
73 |  | MC044-B01/L9 | nan
74 | fire alarm active | MC044-B02/I2 | module 2
75 | module 5 | MC044-B02/I5 | plant reset pb
76 | lthw pu fault | MC044-B02/I6 | module 6
77 | module 7 | MC044-B02/I7 | lthw pu hi press
78 | module 8 | MC044-B02/I8 | lthw pu lo press
79 | trend_0c_93_a0 | MC044-B02/N1 | byte 2
80 | vt system 102 | MC044-B02/O2 | alarm route 2
81 | ups low battery | MC044-B03/I1 | module 1
82 | ups lock | MC044-B03/I2 | module 2
83 | phe1 high temp alarm | MC044-B04/I1 | module 1
84 | module 5 | MC044-B04/I5 | 13% gas detect
85 | module 6 | MC044-B04/I6 | 20% gas detect
86 | foyer vt heating | MC044-B04/O1 | alarm route 1
87 | alarm route 2 | MC044-B04/O2 | physics vt heating
88 | module 2 | MC044-B06/I2 | fire alarm active
89 | emergency stop | MC044-B06/I3 | module 3
90 | mains failure | MC044-B06/I4 | module 4
91 | module 8 | MC044-B06/I8 | ahu 2 fa dmpr open
92 |  | MC044-B06/L12 | nan
93 |  | MC044-B06/L13 | nan
94 | trend_0d_54_04 | MC044-B06/N1 | ahu2 interface
95 | fc interface lan87 | MC044-B07/N1 | trend_0c_92_22
96 | nan | MC044-B07/N3 | fc interface lan88
97 | fire alarm active | MC044-B08/I1 | module 1
98 | module 2 | MC044-B08/I2 | emergency stop
99 | module 5 | MC044-B08/I5 | ups low battery
100 | module 8 | MC044-B08/I8 | large room 3 ndrman status
101 |  | MC044-B08/L3 | nan
102 |  | MC044-B08/L4 | nan
103 | ic comms 1 | MC044-B08/N1 | trend_0b_85_51
104 | alarm route 1 | MC044-B08/O1 | ahu 5 physics store vent
105 | variable air volume c e38 | MC044-B10/N2 | network 2
106 | variable air volume c e38 | MC044-B10/N5 | bacnet mstp
107 | trend_0b_9c_f8 | MC044-B11/N1 | variable air volume b e08
108 | variable air volume b e12 | MC044-B11/N5 | bacnet mstp
109 | trend_0d_11_6b | MC044-B12/N1 | mthw from central s
110 | xcite/io/8ui | MC045-B01/I1 | process pump fail
111 | scc pump fail | MC045-B01/I2 | xcite/io/8ui
112 | chw pump2fail | MC045-B01/I7 | xcite/io/8ao
113 | fire alarm | MC046-B01/I1 | mod 1 - 8ao
114 | pressurisation unit | MC046-B01/I2 | mod 2 - 8ui
115 | mod 3 - 8ao | MC046-B01/I3 | p1 a fault
116 | p1 b fault | MC046-B01/I4 | mod 4 - 8ui
117 | cal 2 45kw | MC046-B01/I7 | mod 7 - 4ui
118 | vt pumps flow proved | MC051-B01/I4 | xcite/io/8do
119 |  | MC051-B01/L4 | nan
120 |  | MC051-B01/L5 | nan
121 | heating p1 running | MC055-B01/I1 | io module 1
122 | xcite/io/8ui | MC061-B01/I6 | boiler no.2 flow switch
123 | xcite/io/8ao | MC061-B01/I8 | boiler no.2 gas booster fault
124 | heating enabled | MC061-B01/N1 | trend_04_61_96
125 | fire alarm | MC061-B02/I1 | io module 1
126 | univreturntemp | MC061-B02/N1 | trend_0e_2d_88
127 | pressure ok os 11 | MC061-B03/N1 | trend_0b_94_73
128 | shower fans south fault | MC063-B01/I3 | module 3
129 |  | MC063-B01/L2 | nan
130 |  | MC063-B01/L3 | nan
131 |  | MC063-B01/L4 | nan
132 | phex no.1highlimitstatus | MC065-B01/I1 | xcite/io/8ui
133 |  | MC065-B01/L3 | nan
134 |  | MC065-B01/L4 | nan
135 |  | MC065-B01/L6 | nan
136 |  | MC065-B01/L7 | nan
137 | alarm route 1 | MC065-B01/O2 | bookbinders
138 | fire alarm active | MC065-B02/I1 | module 1
139 | for off | MC065-B02/I3 | module 3
140 | module 1 | MC065-B03/I1 | fire alarm active
141 | module 4 | MC065-B04/I4 | for extr only
142 | ahu-nw supply flow sts | MC065-B06/I2 | xcite/io/8ui
143 | ahu-nw extract vsd fault | MC065-B06/I3 | xcite/io/8ui
144 | ahu-nw extract flow sts | MC065-B06/I4 | xcite/io/16di
145 | ahu-nwsupplybagfiltersts | MC065-B06/I6 | xcite/io/8ao
146 |  | MC065-B06/L3 | nan
147 |  | MC065-B06/L4 | nan
148 | oat frost setpoint | MC065-B06/N1 | trend_0b_b0_a0
149 | alarm route 1 | MC065-B06/O1 | nw zone 1 floor a oss
150 | ahu-ne supply vsd fault | MC065-B07/I1 | xcite/io/8ui
151 | ahu-ne supply flow sts | MC065-B07/I2 | xcite/io/8ui
152 |  | MC065-B07/L3 | nan
153 |  | MC065-B07/L4 | nan
154 | trend_0c_c1_8c | MC065-B07/N1 | oat frost setpoint
155 | alarm route 1 | MC065-B07/O2 | ne zone 2 floor b oss
156 | xcite/io/8ui | MC065-B08/I1 | c085 ac fault
157 | ahu-se frost stat | MC065-B08/I9 | xcite/io/8ao
158 |  | MC065-B08/L3 | nan
159 |  | MC065-B08/L4 | nan
160 | oat frost setpoint | MC065-B08/N1 | trend_0c_c1_8b
161 | se zone 4 floor a oss | MC065-B08/O1 | alarm route 1
162 | se zone 4 floor b oss | MC065-B08/O2 | alarm route 1
163 | ahu-sw supply vsd fault | MC065-B09/I1 | xcite/io/8ui
164 | ahu-sw supply flow sts | MC065-B09/I2 | xcite/io/8ui
165 | xcite/io/8ao | MC065-B09/I4 | ahu-sw extract flow sts
166 | xcite/io/8ao | MC065-B09/I5 | tef1 toilet extrct fault
167 |  | MC065-B09/L3 | nan
168 |  | MC065-B09/L4 | nan
169 | trend_0d_7f_af | MC065-B09/N1 | oat frost setpoint
170 | alarm route 1 | MC065-B09/O2 | sw zone 3 floor b oss
171 | ic comms 1 | MC065-B10/N1 | trend_04_5e_f7
172 | xcite/io/8ui | MC066-B01/I2 | ct pump flow proven
173 | n.gallery pumps flow proven | MC066-B01/I5 | xcite/io/8ao
174 | xcite/io/8ao | MC066-B01/I7 | pressure unit fault
175 |  | MC066-B01/L10 | nan
176 |  | MC066-B01/L13 | nan
177 |  | MC066-B01/L14 | nan
178 |  | MC066-B01/L5 | nan
179 |  | MC066-B01/L6 | nan
180 |  | MC066-B01/L9 | nan
181 |  | MC070-B01/L1 | nan
182 |  | MC070-B01/L2 | nan
183 |  | MC070-B01/L3 | nan
184 |  | MC070-B01/L4 | nan
185 |  | MC070-B01/L5 | nan
186 | ahu supply fan run | MC070-B03/I2 | io module 2
187 | io module 1 | MC070-B05/I1 | dhw cyl 1 high limit ok
188 | 4ui | MC070-B05/I3 | compressor fault
189 | hws immersion 1 | MC070-B06/I1 | xcite/io/4ui/4ao
190 | bar lossney hx04 fault | MC071-B01/I2 | 8ui_module 2
191 | 4ao_module 4 | MC071-B01/I4 | toilet extract fan b013 fault
192 | toilet extract fan c047 fault | MC071-B01/I6 | 4ui4ao_module 6
193 | 8ui_module 7 | MC071-B01/I7 | toilet extract fan b070 fault
194 | eco hold off | MC071-B01/I8 | 4ui4ao_module 8
195 | ic comms 1 | MC071-B01/N1 | trend_0c_20_eb
196 | 1 8do | MC072-B01/I2 | ct pump 2 fault
197 | io module 3 | MC072-B01/I3 | tower pump 1 fault
198 | nan | MC072-B01/I4 | tower pump 2 fault
199 | presurisation unit hp fault | MC072-B02/I2 | xcite/io/16di no2
200 | xcite/io/8do no1 | MC072-B02/I3 | presurisation unit lp fault
201 | mthw shunt pump p1b fault | MC072-B02/I5 | xcite/io/8ui no1
202 | alarm route 1 | MC072-B02/O1 | heating
203 | alarm mute pb | MC072-B03/I1 | module 1
204 | module 1 | MC072-B05/I1 | alarm mute pb
205 | from man school 2 oat | MC075-B01/N1 | trend_05_77_1d
206 | xcite/io/8ui | MC076-B02/I1 | ac unit 01_1 fault =1
207 | xcite/io/2ui/2ao | MC076-B02/I5 | ahu 1 filter dirty 1=dirty
208 | xcite/io/8ui | MC078-B01/I1 | f39 filter
209 | xcite/io/16di | MC078-B01/I2 | f39 frost
210 | xcite/io/16di | MC078-B01/I3 | fan 1 frost
211 | fan 1 filter | MC078-B01/I4 | xcite/io/8ui
212 | xcite/io/8ao | MC078-B01/I5 | f40 frost
213 | xcite/io/8ao | MC078-B01/I6 | ground floor toilet extract
214 | xcite/io/4ao | MC078-B01/I8 | f40 extract
215 | xcite/io/2ui/2ao | MC078-B01/I9 | f40 filter
216 | heat recovery pump | MC078-B02/I3 | xcite/io/8ao
217 | main supply fan air flow | MC078-B02/I5 | xcite/io/4ao
218 | xcite/io/16di | MC078-B02/I7 | main extract air flow proved
219 | io module 9 | MC078-B02/I9 | heat recovery pump flow proven
220 | trend_05_50_40 | MC078-B02/N1 | ic comms 1
221 | xcite/io/16di | MC078-B03/I1 | 2 flr hws cal 1 valve
222 |  | MC078-B03/L3 | nan
223 | bacnet ip | MC078-B03/N3 | ic comms 3
224 | ic comms 6 | MC078-B03/N6 | bacnet application
225 | heating failed | MC103-B01/I1 | iq4/io/16di
226 |  | MC103-B01/L1 | nan
227 | xcite/io/8ui | MC198-B01/I2 | gas safety cct trip
228 | trend_05_4d_dd | MC198-B01/N1 | ic comms 1
229 | alarm route 1 | MC198-B01/O1 | heating
230 | trend_0d_5d_de | MC200-B01/N1 | ic comms 1
231 | waterside | MC202-B01/N1 | ic comms 1
232 | ic comms 1 | MC202-B02/N1 | waterside
233 | waterside | MC202-B03/N1 | ic comms 1
234 | waterside | MC202-B04/N1 | ic comms 1
235 | waterside | MC202-B13/N1 | ic comms 1
236 | module 4 | MC204-B01/I4 | gas valve shut
237 | module 5 | MC204-B01/I5 | blr room water leak det
238 | module 1 | MC204-B02/I1 | fire alarm active
239 | module 4 | MC204-B02/I4 | ahu3 frost trip
240 |  | MC204-B02/L10 | nan
241 |  | MC204-B02/L11 | nan
242 |  | MC204-B02/L12 | nan
243 |  | MC204-B02/L13 | nan
244 |  | MC204-B02/L14 | nan
245 |  | MC204-B02/L6 | nan
246 |  | MC204-B02/L7 | nan
247 |  | MC204-B02/L8 | nan
248 |  | MC204-B02/L9 | nan
249 | ic comms 1 | MC204-B02/N1 | trend_09_03_4a
250 | module 1 | MC204-B03/I1 | cws tank 1 hi level
251 |  | MC204-B04/L1 | nan
252 |  | MC204-B04/L2 | nan
253 |  | MC204-B04/L3 | nan
254 | alarm route 2 | MC204-B04/O2 | climbing wall
255 | vt pump 3a fault | MC204-B05/I1 | module 1
256 | vt pump 3b fault | MC204-B05/I2 | module 2
257 | module 4 | MC204-B05/I4 | ufhm1 heat dmd
258 | module 6 | MC204-B05/I6 | ufhm1 htco
259 | alarm route 3 | MC204-B05/O3 | ufhm2-group change m
260 | module 4 | MC204-B06/I4 | ahu4 sply fan flow
261 |  | MC204-B06/L2 | nan
262 |  | MC204-B06/L3 | nan
263 |  | MC204-B06/L4 | nan
264 |  | MC204-B06/L5 | nan
265 |  | MC204-B06/L6 | nan
266 |  | MC204-B06/L7 | nan
267 |  | MC204-B06/L8 | nan
268 | sports hall | MC204-B06/O3 | alarm route 3
269 | io module 2 | MC207-B01/I2 | press unit fault
270 | io module 3 | MC207-B01/I3 | sec hr pumps flow
271 | io module 4 | MC207-B01/I4 | ct pumps flow
272 | vt pumps flow | MC207-B01/I5 | io module 5
273 | io module 6 | MC207-B01/I6 | lodge pumps flow
274 | xcite/io/8ui | MC210-B01/I1 | fire alarm active
275 | phe sec pump p1b flow prove | MC210-B01/I10 | xcite/io/16di
276 | xcite/io/16di | MC210-B01/I9 | phe sec pump p1a flow prove
277 | mcp01a | MC210-B01/N1 | ic comms 1
278 | room co≤ a17 | MC210-B01/P17 | room co² a17
279 | room co≤ a17 | MC210-B01/S17 | room co² a17
280 | summer switch active | MC210-B02/I2 | xcite/io/8ui
281 | holiday switch active | MC210-B02/I3 | xcite/io/8ui
282 | ic comms 1 | MC210-B02/N1 | mcp01b
283 | room co≤ a17 from os11 | MC210-B03/A32 | room co² a17 from os11
284 | c28 ave co≤ | MC210-B03/F114 | c28 ave co²
285 | c30 ave co≤ | MC210-B03/F126 | c30 ave co²
286 | b31 ave co≤ | MC210-B03/F90 | b31 ave co²
287 | b04 ave co≤ | MC210-B03/F99 | b04 ave co²
288 | compressedairunit1 fault | MC210-B03/I1 | xcite/io/8ui
289 | xcite/io/8do | MC210-B03/I10 | b30 override
290 | xcite/io/8do | MC210-B03/I11 | a18 override
291 | compressedairunit2 fault | MC210-B03/I2 | xcite/io/8ui
292 | xcite/io/8ui | MC210-B03/I3 | nitrogen generation alarm
293 | xcite/io/8ui | MC210-B03/I6 | chemenglab condenser fault
294 | xcite/io/8ui | MC210-B03/I7 | nuclearlab condenser fault
295 | a14 room co≤ setpt | MC210-B03/K12 | a14 room co² setpt
296 | a18 room co≤ setpt | MC210-B03/K15 | a18 room co² setpt
297 | a19 room co≤ setpt | MC210-B03/K18 | a19 room co² setpt
298 | a21 room co≤ setpt | MC210-B03/K21 | a21 room co² setpt
299 | a22 room co≤ setpt | MC210-B03/K24 | a22 room co² setpt
300 | a06 room co≤ setpt | MC210-B03/K27 | a06 room co² setpt
301 | b31 room co≤ setpt | MC210-B03/K30 | b31 room co² setpt
302 | b04 room co≤ setpt | MC210-B03/K33 | b04 room co² setpt
303 | c28 room co≤ setpt | MC210-B03/K35 | c28 room co² setpt
304 | c30 room co≤ setpt | MC210-B03/K38 | c30 room co² setpt
305 | c04 room co≤ setpt | MC210-B03/K41 | c04 room co² setpt
306 | d30 room co≤ setpt | MC210-B03/K44 | d30 room co² setpt
307 | d03 room co≤ setpt | MC210-B03/K46 | d03 room co² setpt
308 | atrium room co≤ setpt | MC210-B03/K50 | atrium room co² setpt
309 | b30 room co≤ setpt | MC210-B03/K61 | b30 room co² setpt
310 | a17 room co≤ setpt | MC210-B03/K9 | a17 room co² setpt
311 | room co≤ a22 | MC210-B03/P10 | room co² a22
312 | room co≤ a14 | MC210-B03/P12 | room co² a14
313 | room co≤ a06 | MC210-B03/P14 | room co² a06
314 | room co≤ b31 no1 | MC210-B03/P16 | room co² b31 no1
315 | room co≤ b31 no2 | MC210-B03/P18 | room co² b31 no2
316 | room co≤ b30 | MC210-B03/P2 | room co² b30
317 | room co≤ b04 no1 | MC210-B03/P20 | room co² b04 no1
318 | room co≤ b04 no2 | MC210-B03/P22 | room co² b04 no2
319 | room co≤ c28 no1 | MC210-B03/P24 | room co² c28 no1
320 | room co≤ c28 no2 | MC210-B03/P26 | room co² c28 no2
321 | room co≤ c30 no1 | MC210-B03/P28 | room co² c30 no1
322 | room co≤ c30 no2 | MC210-B03/P30 | room co² c30 no2
323 | room co≤ a02 | MC210-B03/P32 | room co² a02
324 | room co≤ c04 | MC210-B03/P34 | room co² c04
325 | room co≤ c25 | MC210-B03/P36 | room co² c25
326 | room co≤ d30 | MC210-B03/P38 | room co² d30
327 | room co≤ a18 | MC210-B03/P4 | room co² a18
328 | room co≤ d03 | MC210-B03/P40 | room co² d03
329 | room co≤ a19 | MC210-B03/P6 | room co² a19
330 | room co≤ a21 | MC210-B03/P8 | room co² a21
331 | room co≤ a22 | MC210-B03/S10 | room co² a22
332 | room co≤ a14 | MC210-B03/S12 | room co² a14
333 | room co≤ a06 | MC210-B03/S14 | room co² a06
334 | room co≤ b31 no1 | MC210-B03/S16 | room co² b31 no1
335 | room co≤ b31 no2 | MC210-B03/S18 | room co² b31 no2
336 | room co≤ b30 | MC210-B03/S2 | room co² b30
337 | room co≤ b04 no1 | MC210-B03/S20 | room co² b04 no1
338 | room co≤ b04 no2 | MC210-B03/S22 | room co² b04 no2
339 | room co≤ c28 no1 | MC210-B03/S24 | room co² c28 no1
340 | room co≤ c28 no2 | MC210-B03/S26 | room co² c28 no2
341 | room co≤ c30 no1 | MC210-B03/S28 | room co² c30 no1
342 | room co≤ c30 no2 | MC210-B03/S30 | room co² c30 no2
343 | room co≤ a02 | MC210-B03/S32 | room co² a02
344 | room co≤ c04 | MC210-B03/S34 | room co² c04
345 | room co≤ c25 | MC210-B03/S36 | room co² c25
346 | room co≤ d30 | MC210-B03/S38 | room co² d30
347 | room co≤ a18 | MC210-B03/S4 | room co² a18
348 | room co≤ d03 | MC210-B03/S40 | room co² d03
349 | room co≤ a19 | MC210-B03/S6 | room co² a19
350 | room co≤ a21 | MC210-B03/S8 | room co² a21
351 | xcite/io/8di/8ti | MC211-B01/I1 | heating press. unit lp
352 | district heating heat meter | MC211-B01/I4 | xcite/io/4ao
353 |  | OC004-B01/L1 | nan
354 |  | OC004-B01/L2 | nan
355 |  | OC004-B01/L3 | nan
356 |  | OC004-B01/L4 | nan
357 |  | OC005-B01/L1 | nan
358 |  | OC005-B01/L2 | nan
359 |  | OC005-B01/L3 | nan
360 |  | OC006-B01/L1 | nan
361 |  | OC006-B01/L2 | nan
362 |  | OC006-B01/L3 | nan

## Loggers naming conflicts
| Logger | Master | Planon
0 | EX001-B01 | underpass | roads - main campus
1 | MC029-B01 | bowland hall cetad | cetad
2 | MC033-L03 | john creed | county john creed
3 | MC047-B02 | conference centre | welcome centre
4 | MC047-L01 | conference centre | welcome centre
5 | MC047-L02 | conference centre | welcome centre
6 | MC055-B01 | furness blocks | furness residences
7 | MC071-B01 | furness | furness college
8 | MC072-B02 | psc building | psc
9 | MC072-B04 | psc building | psc
10 | MC103-B01 | hotel | lancaster house hotel
11 | MC198-B01 | grizedale | grizedale college - offices, bar & social space
12 | MC198-B02 | grizedale | grizedale college - offices, bar & social space
13 | OC004-B01 | chancellors wharf | chancellor's wharf, wyre house
14 | OC005-B01 | chancellors wharf | chancellor's wharf, lune house
15 | OC006-B01 | chancellors wharf | chancellor's wharf, kent house